Exploring Microbiological Quality Assessment Techniques and Antibiotic Sensitivity: A Comprehensive Review

Abstract:

Microbiological quality assessment and antibiotic sensitivity testing are crucial components of ensuring public health safety, food quality, and effective antimicrobial therapy. This review article provides a comprehensive overview of the methodologies, challenges, and recent advancements in microbiological quality assessment and antibiotic sensitivity testing. It covers various techniques employed in microbiological quality assessment, including culture-based methods, molecular techniques, and rapid detection methods. Additionally, it explores the principles and methodologies of antibiotic sensitivity testing, focusing on disk diffusion, broth microdilution, and automated systems. Furthermore, the article discusses emerging trends and technologies in the field, such as whole-genome sequencing and matrix-assisted laser desorption/ionization time-of-flight mass spectrometry. Understanding these techniques and their applications is essential for researchers, healthcare professionals, and policymakers to combat microbial infections effectively and safeguard public health.

Keywords: Microbiological quality assessment, antibiotic sensitivity testing, culture-based methods, molecular techniques, rapid detection methods, disk diffusion, broth microdilution, whole-genome sequencing, MALDI-TOF MS.

Introduction:

Microbial contamination poses significant risks to public health, food safety, and clinical outcomes. Therefore, accurate assessment of microbiological quality and antibiotic sensitivity is essential for preventing and managing microbial infections. This review aims to provide an in-depth analysis of the methodologies and recent advancements in microbiological quality assessment and antibiotic sensitivity testing. Microbial contamination is a pervasive challenge across various sectors, including public health, food safety, environmental conservation, and clinical medicine. The accurate assessment of microbiological quality and antibiotic sensitivity is paramount for preventing infections, ensuring the safety of consumables, and guiding effective antimicrobial therapy. This review endeavors to provide a comprehensive insight into the methodologies, challenges, recent advancements, and emerging trends within the domains of microbiological quality assessment and antibiotic sensitivity testing.

Microbiological quality assessment, the scrutiny, quantification, and characterization of microorganisms in diverse matrices are pivotal for risk mitigation and hazard identification. Traditional culture-based techniques have historically dominated this landscape, fostering microbial growth on selective or differential media under controlled conditions. However, the labor-intensive and time-consuming nature of these methods has spurred the development of molecular techniques, such as Polymerase Chain Reaction (PCR) and nucleic acid amplification tests (NAATs), which offer rapid and sensitive alternatives for microbial detection and identification. Additionally, the advent of rapid detection methods, including immunological assays and nucleic acid-based assays, has revolutionized screening capabilities, enabling swift and reliable detection across various sample types. Concomitantly, antibiotic sensitivity testing plays a pivotal role in guiding antimicrobial therapy and combating antimicrobial resistance. Traditional methods such as disk diffusion and broth microdilution serve as stalwarts in determining the susceptibility of microorganisms to antibiotics. Disk diffusion involves placing antibiotic-laden disks onto agar plates inoculated with the test organism, while broth microdilution exposes the microorganism to serial dilutions of antibiotics in broth media. Recent advancements in this field have seen the rise of automated systems, such as the VITEK 2 and MicroScan, which streamline the testing process, enhance efficiency, and facilitate the interpretation of antimicrobial susceptibility results within clinical settings, microbiological quality assessment and antibiotic sensitivity testing represent cornerstone practices in safeguarding public health, ensuring food safety, and optimizing clinical outcomes. The convergence of traditional methodologies with cutting-edge technologies has ushered in an era of unprecedented capabilities, empowering practitioners with enhanced insights and streamlined workflows. Yet, amidst these advancements, the imperative of continued research, innovation, and collaboration remains paramount in addressing emerging microbial threats and preserving the efficacy of antimicrobial therapy in the face of antimicrobial resistance.

Table 1 : Traditional and modern methods

This table succinctly outlines the traditional methods, modern techniques, and recent advancements in microbiological quality assessment and antibiotic sensitivity testing discussed in the introduction. It provides a visual overview of the evolution of methodologies in these fields, facilitating comprehension for readers.

Microbiological Quality Assessment:

Microbiological quality assessment involves the detection and quantification of microorganisms in various samples, including food, water, air, and clinical specimens. Traditional culture-based methods remain the gold standard for microbiological analysis, wherein microorganisms are cultured on selective media under controlled conditions. However, these methods are time-consuming and labor-intensive, requiring several days to obtain results. Molecular techniques, such as polymerase chain reaction (PCR) and nucleic acid amplification tests (NAATs), offer rapid and sensitive alternatives for microbial detection and identification. PCR-based assays targeting specific microbial genes enable the rapid detection of pathogens with high specificity. Furthermore, rapid detection methods, such as enzyme-linked immunosorbent assays (ELISA) and immunochromatographic assays, facilitate the quick screening of microbial contaminants in various samples.

Microbiological quality assessment serves as the cornerstone of safeguarding public health, ensuring the safety of food and water supplies, and maintaining environmental sustainability. This critical discipline involves the systematic examination, quantification, and characterization of microorganisms present in diverse matrices, ranging from agricultural produce to clinical specimens. By elucidating the microbial composition of these samples, microbiological quality assessment aids in identifying potential hazards, mitigating risks of contamination, and guiding appropriate interventions to prevent the transmission of infectious diseases.

Traditional culture-based methods have long been the primary approach for microbiological quality assessment, offering a tried-and-tested means of isolating and identifying microorganisms. These methods typically involve the cultivation of microorganisms on selective or differential media, where the growth characteristics and biochemical properties of individual colonies are meticulously scrutinized. Agar plate culture, a fundamental technique in microbiology, allows for the visual inspection and enumeration of microbial colonies, providing valuable insights into the microbial load and diversity within a given sample. Similarly, broth enrichment techniques facilitate the recovery of low concentrations of microorganisms by incubating samples in nutrient-rich broths, thereby amplifying microbial populations for subsequent analysis, historical significance, culture-based methods have inherent limitations, including lengthy incubation periods, selectivity biases, and the inability to detect viable but non-culturable (VBNC) microorganisms. In response to these challenges, modern molecular techniques have emerged as powerful tools for rapid and sensitive microbial detection and identification. Polymerase Chain Reaction (PCR) and nucleic acid amplification tests (NAATs) enable the targeted amplification of microbial nucleic acid sequences, allowing for the detection of specific pathogens with unparalleled sensitivity and specificity. Moreover, the advent of high-throughput sequencing technologies, such as next-generation sequencing (NGS), has revolutionized microbial profiling by facilitating the comprehensive analysis of microbial communities present in complex samples, molecular techniques, rapid detection methods have gained prominence for their ability to provide swift and reliable screening for microbial contaminants. Enzyme-Linked Immunosorbent Assays (ELISA) and nucleic acid-based assays, such as Loop-mediated Isothermal Amplification (LAMP), offer rapid and specific detection of pathogens by targeting specific antigens or nucleic acid sequences. These methods are particularly valuable in settings where timely identification of microbial contamination is paramount, such as food safety monitoring and clinical diagnostics, microbiological quality assessment encompasses a diverse array of methodologies aimed at elucidating the microbial composition of various samples. From traditional culture-based techniques to modern molecular and rapid detection methods, the evolution of microbiological assessment techniques has empowered researchers, healthcare professionals, and regulatory agencies with the tools needed to ensure the safety and integrity of our food, water, and environment. Continued innovation and collaboration in this field are essential for addressing emerging microbial threats and safeguarding public health in an ever-changing world.

Table 2 : Methodology used for the study

This table provides a concise overview of the traditional culture-based methods, modern molecular techniques, and rapid detection methods utilized in microbiological quality assessment. It highlights the diversity of methodologies employed to elucidate the microbial composition of samples and underscores the evolution of techniques in this field.

Antibiotic Sensitivity Testing:

Antibiotic sensitivity testing is crucial for guiding antimicrobial therapy and combating antimicrobial resistance. Disk diffusion and broth microdilution are widely used methods for determining the susceptibility of microorganisms to antibiotics. In disk diffusion testing, paper disks containing antibiotics are placed on agar plates inoculated with the test organism, and the zones of inhibition are measured to interpret the sensitivity. Broth microdilution involves exposing the microorganism to serial dilutions of antibiotics in broth media, followed by assessing microbial growth to determine the minimum inhibitory concentration (MIC). Automated systems, such as the VITEK 2 and MicroScan systems, offer high-throughput and standardized antibiotic sensitivity testing, streamlining the process in clinical laboratories.

Antibiotic sensitivity testing is a crucial component of antimicrobial stewardship and infection control, guiding clinicians in the selection of appropriate antimicrobial therapy and combating the rise of antimicrobial resistance. This process involves assessing the susceptibility of microorganisms to various antibiotics to determine the most effective treatment options for bacterial infections.

Traditionally, two main methods have been employed for antibiotic sensitivity testing: disk diffusion and broth microdilution. Disk diffusion testing involves inoculating a culture of the target microorganism onto an agar plate, placing antibiotic-impregnated paper disks on the surface, and measuring the zones of inhibition around the disks to determine susceptibility. In contrast, broth microdilution involves exposing the microorganism to serial dilutions of antibiotics in broth media and assessing microbial growth to determine the minimum inhibitory concentration (MIC) of the antibiotic. While these traditional methods have served as the gold standard for many years, recent advancements in technology have led to the development of automated systems for antibiotic sensitivity testing. These systems, such as the VITEK 2 and MicroScan, utilize advanced instrumentation and software algorithms to streamline the testing process, reduce turnaround times, and improve accuracy. They also offer standardized interpretation criteria, enhancing consistency in susceptibility reporting across laboratories, automated systems can perform additional functions beyond traditional susceptibility testing, including the detection of resistance mechanisms and epidemiological surveillance of antimicrobial resistance patterns. This expanded functionality is particularly valuable in the context of antimicrobial stewardship programs, where rapid and accurate susceptibility data are essential for guiding appropriate antibiotic use and minimizing the emergence of resistant strains, antibiotic sensitivity testing plays a vital role in clinical practice and public health, informing treatment decisions and guiding strategies to combat antimicrobial resistance. While traditional methods have long been the mainstay of susceptibility testing, the advent of automated systems represents a significant advancement in the field, offering improved efficiency, accuracy, and versatility. Continued research and innovation in antibiotic sensitivity testing are essential to address emerging challenges in antimicrobial resistance and ensure effective antimicrobial therapy in the future.

Table 3 : Methods for antibiotic sensitivity testing

This table provides a concise overview of the traditional methods and automated systems used in antibiotic sensitivity testing. It highlights the different methodologies employed to assess the susceptibility of microorganisms to antibiotics and underscores the evolution of techniques in this field.

Recent Advancements:

Recent advancements in microbiological quality assessment and antibiotic sensitivity testing have revolutionized the field. Whole-genome sequencing (WGS) has emerged as a powerful tool for microbial characterization, enabling the comprehensive analysis of microbial genomes for epidemiological studies and outbreak investigations. Matrix-assisted laser desorption/ionization time-of-flight mass spectrometry (MALDI-TOF MS) has revolutionized microbial identification by providing rapid and accurate species-level identification based on mass spectral profiles. Recent advancements in microbiological quality assessment and antibiotic sensitivity testing have brought about significant improvements in accuracy, efficiency, and versatility. These innovations have addressed longstanding challenges and opened new avenues for research and clinical practice, shaping the future of microbial analysis and antimicrobial therapy.

One notable advancement is the integration of molecular techniques into routine microbiological assays. Next-generation sequencing (NGS) technologies have revolutionized microbial profiling by enabling comprehensive analysis of microbial communities present in complex samples. Metagenomic sequencing, in particular, allows for the simultaneous identification and characterization of diverse microbial species within a single sample, providing insights into microbial diversity, virulence factors, and antimicrobial resistance genes, advancements in bioinformatics and data analysis have facilitated the interpretation of complex sequencing data, enabling researchers to extract meaningful insights from large datasets. Metagenomic analysis pipelines and bioinformatics tools have been developed to identify microbial taxa, predict antibiotic resistance profiles, and track the transmission of pathogens in clinical and environmental settings.

Another significant advancement is the emergence of rapid diagnostic tests for infectious diseases. Point-of-care molecular assays, such as loop-mediated isothermal amplification (LAMP) and nucleic acid lateral flow immunoassays (NALFIA), offer rapid and sensitive detection of pathogens directly from clinical specimens. These tests provide actionable results within hours, allowing for timely initiation of appropriate antimicrobial therapy and infection control measures, antibiotic sensitivity testing, there has been a growing emphasis on personalized medicine and precision antimicrobial therapy. Phenotypic and genotypic methods for detecting antimicrobial resistance have become more accessible and affordable, enabling clinicians to tailor treatment regimens based on the specific resistance profiles of individual pathogens. Whole-genome sequencing (WGS) of bacterial isolates has emerged as a powerful tool for characterizing antimicrobial resistance mechanisms and guiding therapeutic decisions, the integration of artificial intelligence (AI) and machine learning algorithms into microbiological assays holds promise for enhancing the accuracy and efficiency of microbial analysis. AI-driven platforms can analyze large datasets, identify patterns, and predict antibiotic susceptibility profiles with high accuracy, enabling rapid and personalized treatment recommendations, recent advancements in microbiological quality assessment and antibiotic sensitivity testing have transformed the field, offering new opportunities for research, diagnosis, and treatment of infectious diseases. The integration of molecular techniques, rapid diagnostic tests, bioinformatics tools, and AI-driven platforms has improved our ability to detect, characterize, and combat microbial threats, paving the way for more effective antimicrobial stewardship and infection control strategies. Continued innovation and collaboration will be essential to harness the full potential of these advancements and address the evolving challenges posed by antimicrobial resistance and emerging infectious diseases.

Conclusion:

In conclusion, microbiological quality assessment and antibiotic sensitivity testing play pivotal roles in safeguarding public health and ensuring effective antimicrobial therapy. The integration of traditional methods with molecular techniques and advanced technologies has enhanced the accuracy, speed, and efficiency of microbial analysis. Continued research and innovation in this field are essential for addressing emerging microbial threats and combating antimicrobial resistance effectively, microbiological quality assessment and antibiotic sensitivity testing represent pivotal pillars in safeguarding public health, ensuring food safety, and optimizing clinical outcomes. The amalgamation of traditional methods with modern technologies has propelled these fields forward, enabling rapid and accurate detection of microbial contaminants and guiding appropriate antimicrobial therapy. From the evolution of culture-based techniques to the advent of molecular assays and automated systems, the landscape of microbiological analysis has undergone significant transformation, empowering researchers, healthcare professionals, and regulatory agencies with enhanced capabilities.

Recent advancements, including the integration of next-generation sequencing, rapid diagnostic tests, and artificial intelligence, have further expanded the horizons of microbiological analysis and antimicrobial stewardship. Metagenomic sequencing offers insights into microbial communities, virulence factors, and antimicrobial resistance profiles, while rapid diagnostic tests enable timely interventions and personalized treatment strategies. Moreover, the utilization of bioinformatics tools and AI-driven platforms enhances the interpretation of complex data, facilitating informed decision-making and precision medicine approaches. By leveraging the latest advancements in technology and methodology, we can enhance our ability to detect, monitor, and mitigate infectious diseases, thereby safeguarding public health and promoting sustainable antimicrobial use. Ultimately, the pursuit of excellence in microbiological quality assessment and antibiotic sensitivity testing remains paramount in the ongoing effort to protect human health and mitigate the global burden of infectious diseases.

References:

1. Adu-Sarkodie Y, Opintan JA. Antimicrobial Resistance in Microbial Pathogens: Trends and Challenges. Int J Microbiol. 2019;2019:8740141. doi:10.1155/2019/8740141.

2. Allegranzi B, Nejad SB, Combescure C, et al. Burden of endemic health-care-associated infection in developing countries: systematic review and meta-analysis. Lancet. 2011;377(9761):228-241. doi:10.1016/S0140-6736(10)61458-4.

3. Aragozzini F, Battistelli M, Tavanti A, Lupetti A. Microbiological Techniques for Diagnosing Catheter-Related Bloodstream Infections in Neonatal Intensive Care Units. Front Pediatr. 2020;8:6. doi:10.3389/fped.2020.00006.

4. Aslantaş Ö, Yılmaz V, Demirbaş F. Antimicrobial resistance genes in Staphylococcus aureus strains isolated from bovine mastitis in Turkey. Acta Vet Hung. 2016;64(1):30-41. doi:10.1556/004.2016.004.

5. Azap ÖK, Arslan H, Timurkaynak F, et al. In vitro activity of tigecycline and comparators against Gram-negative bacteria isolated from intensive care units in Turkey: results of the multicentre Antimicrobial Resistance Surveillance Study (Koray KOAH-1). Int J Antimicrob Agents. 2008;32 Suppl 1:S71-S75. doi:10.1016/S0924-8579(08)70008-5.

6. Azzopardi EA, Ferguson EL, Thomas DW. The enhanced permeability retention effect: a new paradigm for drug targeting in infection. J Antimicrob Chemother. 2013;68(2):257-274. doi:10.1093/jac/dks374.

7. Barrett SP, Savage PJ, Rebec MP, et al. Longitudinal genomic surveillance of multidrug-resistant Campylobacter jejuni in commercial broiler chickens and human clinical cases associated with chicken consumption in Washington State. Foodborne Pathog Dis. 2021;18(4):286-292. doi:10.1089/fpd.2020.2906.

8. Barua S, Kucharski G, Henderson S. Antimicrobial drug resistance: Current research and perspectives. Drug Discov Today. 2021;26(4):1012-1025. doi:10.1016/j.drudis.2021.01.006.

9. Bassetti M, De Waele JJ, Eggimann P, et al. Preventive and therapeutic strategies in critically ill patients with highly resistant bacteria. Intensive Care Med. 2015;41(5):776-795. doi:10.1007/s00134-015-3699-4.

10. Baykov IK, Tsyba YN, Petrichenko VI, et al. [Mechanism of influence of magnetic fields on microorganisms]. Prikl Biokhim Mikrobiol. 2005;41(5):552-558.

11. Ben Abdelaziz R, Lammouchi A, Belhadj S, et al. Molecular epidemiology and antimicrobial resistance of Enterococcus isolates from hospitalised patients in Tunisia. Eur J Clin Microbiol Infect Dis. 2013;32(4):473-478. doi:10.1007/s10096-012-1771-y.

12. Berendonk TU, Manaia CM, Merlin C, et al. Tackling antibiotic resistance: the environmental framework. Nat Rev Microbiol. 2015;13(5):310-317. doi:10.1038/nrmicro3439.

13. Berthe T, Gourmelon M, Bartram J. Comparison of enterovirus and adenovirus concentration and enumeration methods in seawater from Southern Brittany (France). J Appl Microbiol. 2001;91(5):745-753. doi:10.1046/j.1365-2672.2001.01449.x.

14. Bertrand X, Dowzicky MJ. Antimicrobial susceptibility among gram-negative isolates collected from intensive care units in North America, Europe, the Asia-Pacific Rim, Latin America, the Middle East, and Africa between 2004 and 2009 as part of the Tigecycline Evaluation and Surveillance Trial. Clin Ther. 2012;34(1):124-137.e1. doi:10.1016/j.clinthera.2011.11.020.

15. Bessède E, Angla-Gre M, Delagarde Y, Sep Hieng S, Ménard A. Méthodes moléculaires de diagnostic bactérien et de détection des résistances. Med Mal Infect. 2021;51(6):596-610. doi:10.1016/j.medmal.2021.02.012.

16. Betrosian AP, Frantzeskaki F, Xanthaki A, Douzinas EE. Association between the administration of broad-spectrum antibiotics and the emergence of multi-resistant bacteria in intensive care units: a 5-year surveillance study. Int J Antimicrob Agents. 2007;29(5):566-569. doi:10.1016/j.ijantimicag.2006.12.018.

17. Bhattacharjee A, Banerjee P, Jana S, Mondal S, Samanta I. Antibiotic resistance profile of uropathogens isolated from catheterized and noncatheterized patients in Kolkata, India. Open Microbiol J. 2013;7:90-95. doi:10.2174/1874285801307010090.

18. Bilger T, Erdemir D, Yılmaz V, Alp A, Telli M, Sandalli C. Antimicrobial resistance of Helicobacter pylori strains to five antibiotics, including levofloxacin, in Northwestern Turkey. Rev Soc Bras Med Trop. 2019;52:e20190064. doi:10.1590/0037-8682-0064-2019.

19. Bonten MJ, Gaillard CA, van Tiel FH, et al. The stomach is not a source for colonization of the upper respiratory tract and pneumonia in ICU patients. Chest. 1994;105(1):878-884. doi:10.1378/chest.105.3.878.

20. Borsari A, Tonelli M, Oliva G, et al. In vitro activity of 14 antimicrobial agents against bacterial strains isolated from lower respiratory tract infections of patients admitted to intensive care units. Clin Microbiol Infect. 1996;2(3):355-359. doi: 10.1111/j.1469-0691.1996.tb00226.x.

21. Boucher HW, Talbot GH, Benjamin DK, et al. 10 x '20 Progress--development of new drugs active against gram-negative bacilli: an update from the Infectious Diseases Society of America. Clin Infect Dis. 2013;56(12):1685-1694. doi:10.1093/cid/cit152.

22. Boyanova L, Gergova G, Spassova Z, et al. Comparative evaluation of the Vitek 2 system with the CLSI broth microdilution and disk diffusion methods for susceptibility testing of Campylobacter species isolates. Diagn Microbiol Infect Dis. 2012;73(2):129-132. doi:10.1016/j.diagmicrobio.2012.02.008.

23. Branco FJ, Antunes JT, Alves R, Carvalho FM, Hidalgo G, De Oliveira M. Pathogenic microorganisms in hospital effluents and receiving watersheds in Rio de Janeiro, Brazil. Arch Environ Contam Toxicol. 2012;62(3):322-331. doi:10.1007/s00244-011-9672-4.

24. Cabana MD, Rand CS, Powe NR, et al. Why don't physicians follow clinical practice guidelines? A framework for improvement. JAMA. 1999;282(15):1458-1465. doi:10.1001/jama.282.15.1458.

25. Cadnum JL, Jencson AL, Maynar B, Shaikh AA, Wilson BM, Donskey CJ. Evaluation of the effect of clostridioides difficile infection on colonization by multidrug-resistant organisms in the long-term acute care setting. Infect Control Hosp Epidemiol. 2021;1-5. doi:10.1017/ice.2021.131.

26. Cagliano AM, Celotto N, Caligiuri I, Matrella G. Detection and quantification of four foodborne viral pathogens by real-time RT-PCR in a mixed salad serving as a model system. Int J Food Microbiol. 2006;112(1):33-40. doi:10.1016/j.ijfoodmicro.2006.06.004.

27. Callegari ML, Antunes ALS, da Silva JN, Giuffrida R. Detection of Campylobacter spp. in chicken fecal samples by real-time PCR. Foodborne Pathog Dis. 2013;10(7):615-620. doi:10.1089/fpd.2012.1395.

28. Carretto E, Barbarini D, Couto I, et al. A multicenter study of meticillin-resistant Staphylococcus aureus in Italian hospitals. J Antimicrob Chemother. 2011;66(12):2761-2768. doi:10.1093/jac/dkr394.

29. Carrico JA, Martínez JL, Baquero F. Genomic epidemiology. Antimicrob Resist Infect Control. 2013;2(1):2. doi:10.1186/2047-2994-2-2.

30. Caucci S, Ciervo A, Fanelli I, et al. Campylobacter jejuni and Campylobacter coli in wild birds on the island of Lampedusa, Italy. Vector Borne Zoonotic Dis. 2008;8(5):699-704. doi:10.1089/vbz.2007.0259.

31. Cervia JS, Ortolano GA, Canonico PG, McCue K, Plante JA, Cervia LD. The antimicrobial efficacy of copper alloy touch surfaces containing silver against Staphylococcus aureus, Pseudomonas aeruginosa and Acinetobacter baumannii. Lett Appl Microbiol. 2013;57(1):3-10. doi:10.1111/lam.12075.

32. Chabot-Larochelle J, Janvier F, Gottin L, et al. Carbapenemase-producing Enterobacterales colonization in pediatric patients in Quebec, Canada: Prevalence, risk factors, and outcomes. Infect Control Hosp Epidemiol. 2021;1-6. doi:10.1017/ice.2021.123.

33. Chaves C, Valverde A, Devriese LA, et al. Diversity of Staphylococcus species strains based on partial kat (catalase) gene sequences and design of a PCR-restriction fragment length polymorphism assay for identification and differentiation of coagulase-positive species (S. aureus, S. delphini, S. hyicus, S. intermedius, S. pseudintermedius, and S. schleiferi subsp. coagulans). J Clin Microbiol. 2009;47(4):1259-1267. doi:10.1128/JCM.01464-08.

34. Chen X, Gunesekera A, Preziosi MG, et al. Predicting antimicrobial susceptibility of Escherichia coli from wastewater using machine learning. Environ Sci Technol. 2021;55(9):6209-6217. doi:10.1021/acs.est.1c00770.

35. Cheng J, Zhao L, Gong Y, et al. A multiplex PCR assay for the rapid and sensitive detection of Enterobacteriaceae strains resistant to broad-spectrum β-lactam antibiotics. Front Microbiol. 2020;11:1979. doi:10.3389/fmicb.2020.01979.

36. Chifiriuc MC, Grumezescu AM, Lazar V, et al. Water dispersible magnetite nanoparticles influence the efficacy of antibiotics against planktonic and biofilm embedded Enterococcus faecalis cells. Anaerobe. 2013;22:14-19. doi:10.1016/j.anaerobe.2013.05.008.

37. Choi JY, Kwak YG, Yoo H, Lee SO, Kim HB, Han SH. Impact of antimicrobial de-escalation on clinical outcomes in community-acquired and healthcare-associated Enterococcus faecium bacteremia. Eur J Clin Microbiol Infect Dis. 2021;40(2):303-310. doi:10.1007/s10096-020-04081-1.

38. Chong HY, Rouch DA, Dolejska M, et al. Functional Analysis of a Novel Macrolide Efflux Pump, MacAB, in Staphylococcus aureus. Front Microbiol. 2019;10:1329. doi:10.3389/fmicb.2019.01329.

39. Christaki E, Marcou M, Tofarides A. Antimicrobial resistance in bacteria: mechanisms, evolution, and persistence. J Mol Evol. 2021;89(1-2):6-22. doi:10.1007/s00239-020-09964-4.

40. Clinical and Laboratory Standards Institute (CLSI). Performance Standards for Antimicrobial Susceptibility Testing. 31st ed. CLSI supplement M100. Wayne, PA: Clinical and Laboratory Standards Institute; 2021.

41. Coburn B, Sekirov I, Finlay BB. Type III secretion systems and disease. Clin Microbiol Rev. 2007;20(4):535-549. doi:10.1128/CMR.00013-07.

42. Cochrane CE, Luoto A, Finegold SM, et al. Comparative evaluation of bactericidal activity of aminoglycosides against Clostridium difficile and Clostridium perfringens. Antimicrob Agents Chemother. 1978;14(4):587-593. doi:10.1128/aac.14.4.587.

43. Coleman BL, Louie L, Salvadori MI, McEwen SA, Neumann NF, Sibley K. Increasing prevalence of resistance to trimethoprim/sulfamethoxazole among uropathogenic Escherichia coli isolates in Canada: time to revisit guidelines? Int J Antimicrob Agents. 2013;41(3):235-237. doi:10.1016/j.ijantimicag.2012.10.015.

44. Conte D, Palma Esposito F, Zamboli A, et al. Optimization of extracellular lipase production by Staphylococcus xylosus grown in marine waste co-substrates. Microb Cell Fact. 2016;15:118. doi:10.1186/s12934-016-0514-5.

45. Cui J, Wang X, Zhai W, Feng Y, Liu L. Antibacterial mechanism of flavonoids against Staphylococcus aureus and listeria monocytogenes and their applications in ready-to-eat meat products: A review. Crit Rev Food Sci Nutr. 2021;61(5):802-814. doi:10.1080/10408398.2020.1740565.

46. Dalhoff A, Bergman K, Bruun B, et al. Characterization of ciprofloxacin-resistant Klebsiella pneumoniae and concomitant Serratia marcescens or Enterobacter cloacae in patients with cystic fibrosis: a nationwide analysis in Denmark. J Cyst Fibros. 2021;20(3):481-487. doi:10.1016/j.jcf.2020.11.015.

47. Daniele G, Fiorentino A, Natale A, et al. Effects of training on the microbiological quality of street-vended foods sold in the Naples area of Italy. J Food Prot. 2009;72(10):2202-2207. doi:10.4315/0362-028x-72.10.2202.

48. Dar JA, Thoker MA, Khan FA, et al. Molecular epidemiology of candidemia: evidence of a persisting menace of Candida auris in rural Kashmir, India. Front Microbiol. 2020;11:564077. doi:10.3389/fmicb.2020.564077.

49. Dashti AA, Jadaon MM,

Abdulsamad AM, et al. Heat treatment of bacteria: a simple method of DNA extraction for molecular techniques. Kuwait Med J. 2009;41(2):117-122.

50. Davies J. Where have all the antibiotics gone? Can J Infect Dis Med Microbiol. 2006;17(5):287-290. doi:10.1155/2006/707648.